{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":1,"images":1,"macros":1,"defined_names":19,"comments":2},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":28,"n_cols":8,"rows_kept":28}
["COMSOL Model"]
["Filename:","C:\\Program Files\\COMSOL\\COMSOL61\\Multiphysics\\applications\\LiveLink_for_Excel\\Tutorials\\busbar_llexcel.mph"]
[]
["Parameter","Expressions","Unit","Description","Value","Unit"]
["Parameters 2"]
["L",9,"cm","Length of busbar",0.09,"m"]
[]
["Name","Expressions"]
["wbb",{"v":0.05,"d":"5.00E-02"},0.1,0.15]
["Vtot",5,10,20,30,40]
[]
[]
["wbb (m)","Vtot (mV)","Maximum 1 (K), Point: 1",null,"Vtot (mV)","Maximum 1 (K)","Maximum 1 (K)","Maximum 1 (K)"]
[0.05,5,294.75897072315865,null,5,294.75897216796875,294.0777282714844,293.80767822265625]
[0.05,10,298.378637203685,null,10,298.3786315917969,296.3626403808594,295.5110168457031]
[0.05,20,310.0019627882426,null,20,310.001953125,303.1650085449219,300.6510925292969]
[0.05,30,327.6511823694882,null,30,327.65118408203125,313.76849365234375,308.216064453125]
[0.05,40,350.0906575266572,null,40,350.0906677246094,327.4473876953125,318.3570251464844]
[0.1,5,294.07772889927446]
[0.1,10,296.3626436315372]
[0.1,20,303.1650019979279]
[0.1,30,313.7684989370765]
[0.1,40,327.44739971776744]
[0.15,5,293.8076710880708]
[0.15,10,295.5110304968123]
[0.15,20,300.65109773717523]
[0.15,30,308.2160557614035]
[0.15,40,318.3570379902898]

{"sheet":"Sheet2","index":1,"n_rows":21,"n_cols":18,"rows_kept":21,"merged":[[0,3,0,17],[1,3,1,7],[1,8,1,12],[1,13,1,17]]}
[{"$nulls":3},"Qtot [W]"]
[{"$nulls":3},"wbb = 0.05[m]",{"$nulls":4},"wbb = 0.1[m]",{"$nulls":4},"wbb = 0.15[m]"]
["x","y","z","Vtot = 5[mV]","Vtot = 10[mV]","Vtot = 20[mV]","Vtot = 30[mV]","Vtot = 40[mV]","Vtot = 5[mV]","Vtot = 10[mV]","Vtot = 20[mV]","Vtot = 30[mV]","Vtot = 40[mV]","Vtot = 5[mV]","Vtot = 10[mV]","Vtot = 20[mV]","Vtot = 30[mV]","Vtot = 40[mV]"]
[0,0,0,0.11541626077346481,0.46166504309061496,1.8466601723783727,4.154985387940922,7.386640689626603,0.11541626077346481,0.46166504309061496,1.8466601723783727,4.154985387940922,7.386640689626603,2.7867882921784129E-4,1.1147153206164633E-3,4.4588612825977765E-3,0.010032437919233653,0.017835445191164104]
[0.025,0,0,476.98560139648885,1907.9424055883594,7631.769622363655,17171.48165031732,30527.07848945462,476.98560139648885,1907.9424055883594,7631.769622363655,17171.48165031732,30527.07848945462,82.09825681237774,328.3930272701983,1313.572109080795,2955.537245619114,5254.288436656186]
[0.05,0,0,449.3121005452232,1797.2484021816217,7188.993608729403,16175.23561964203,28755.97443491528,449.3121005452232,1797.2484021816217,7188.993608729403,16175.23561964203,28755.97443491528,117.54488087158688,470.17952349112085,1880.7180939644834,4231.615711462376,7522.872375934307]
[0,-0.0125,0,0.007488400005296452,0.029953600026962787,0.11981440012643607,0.2695824002888568,0.47925760052830924,0.007488400005296452,0.029953600026962787,0.11981440012643607,0.2695824002888568,0.47925760052830924,18.216874063998535,72.86749625800013,291.46998503182476,655.8074663391832,1165.879940158669]
[0.025,-0.0125,0,435.5381987549167,1742.1527950208513,6968.611180088248,15679.375155194284,27874.444720352993,435.5381987549167,1742.1527950208513,6968.611180088248,15679.375155194284,27874.444720352993,118.53667214840434,474.1466886177949,1896.5867544714295,4267.320197778612,7586.347018272681]
[0.05,-0.0125,0,449.15647360246425,1796.6258944102215,7186.503577643219,16169.63304969768,28746.014310572875,449.15647360246425,1796.6258944102215,7186.503577643219,16169.63304969768,28746.014310572875,119.67828294997898,478.7131318072066,1914.8525272289774,4308.418186331036,7659.4101090319555]
[0,-0.025,0,0.018242121224291415,0.07296848489791809,0.2918739395943678,0.6567163640950021,1.167495758390696,0.018242121224291415,0.07296848489791809,0.2918739395943678,0.6567163640950021,1.167495758390696,0.009094294518362493,0.036377178041565435,0.14550871216864394,0.32739460207527266,0.5820348481501253]
[0.025,-0.025,0,478.50307196416463,1914.012287859311,7656.049151447403,17226.110590754623,30624.196605786005,478.50307196416463,1914.012287859311,7656.049151447403,17226.110590754623,30624.196605786005,200.40698188244187,801.6279275419375,3206.5117101670066,7214.651347985081,12826.046840862691]
[0.05,-0.025,0,449.28031673606114,1797.12126694439,7188.485067778692,16174.091402501632,28753.940271114767,449.28031673606114,1797.12126694439,7188.485067778692,16174.091402501632,28753.940271114767,122.33785487822648,489.35141952580875,1957.4056781033848,4404.162775848855,7829.622712620592]
[0,0,0.005,0.1667696295478045,0.6670785181860404,2.6683140727462242,6.00370666364698,10.673256291142243,0.1667696295478045,0.6670785181860404,2.6683140727462242,6.00370666364698,10.673256291142243,2.3436018242499473E-4,9.3744073040183732E-4,3.7497629210045532E-3,0.008436966575466567,0.014999051685632469]
[0.025,0,0.005,477.868193388937,1911.4727735587182,7645.891094246901,17203.254962056657,30583.564376987604,477.868193388937,1911.4727735587182,7645.891094246901,17203.254962056657,30583.564376987604,81.52431844918442,326.0972738199073,1304.389095279382,2934.8754645878735,5217.55638148724]
[0.05,0,0.005,449.31162149980645,1797.2464860001555,7188.985944003228,16175.218374007274,28755.943776015243,449.31162149980645,1797.2464860001555,7188.985944003228,16175.218374007274,28755.943776015243,117.53778228535617,470.15112914564276,1880.60451658259,4231.360162348915,7522.418066396877]
[0,-0.0125,0.005,0.028645974840424256,0.11458389936141458,0.45833559745442487,1.0312550942601002,1.833342389805655,0.028645974840424256,0.11458389936141458,0.45833559745442487,1.0312550942601002,1.833342389805655,17.679135162492926,70.7165406516867,282.8661626067972,636.4488658807321,1131.464650454679]
[0.025,-0.0125,0.005,356.2089154938197,1424.8356619761742,5699.3426479088275,12823.520957793635,22797.37059163319,356.2089154938197,1424.8356619761742,5699.3426479088275,12823.520957793635,22797.37059163319,118.02216499934264,472.08866002072483,1888.3546400830699,4248.797940398074,7553.418560708057]
[0.05,-0.0125,0.005,449.1571747986727,1796.6286991952013,7186.514796782846,16169.658292763806,28746.059187133716,449.1571747986727,1796.6286991952013,7186.514796782846,16169.658292763806,28746.059187133716,119.72471711286748,478.89886845887713,1915.595473835358,4310.089816196174,7662.381895460261]
[0,-0.025,0.005,0.016415339466211078,0.0656613578629741,0.2626454314357226,0.5909522207431608,1.050581725764578,0.016415339466211078,0.0656613578629741,0.2626454314357226,0.5909522207431608,1.050581725764578,0.045855792729055544,0.1834231709634626,0.7336926838499225,1.6508085391077074,2.934770736186121]
[0.025,-0.025,0.005,476.49994599800795,1905.999783994602,7623.999135988693,17153.99805597409,30495.996543952366,476.49994599800795,1905.999783994602,7623.999135988693,17153.99805597409,30495.996543952366,154.6039856244593,618.4159425084258,2473.6637700348565,5565.743482672919,9894.655080308163]
[0.05,-0.025,0.005,449.26944986162647,1797.0777994467974,7188.3111977877725,16173.700195023805,28753.24479115109,449.26944986162647,1797.0777994467974,7188.3111977877725,16173.700195023805,28753.24479115109,122.30201050277483,489.2080420241105,1956.832168095986,4402.87237833227,7827.328672590904]